## WW-Up & Cost Est. (upload)
Use the "Tab" key to complete this form and the arrow keys to navigate this form
Texas Department of Housing and Community Affairs
Work Write-Up & Cost Estimate
(upload to the Reservation System)
Administrator: |  | Activity #:
Head of HH Name:
Street Address: |  | County:
City, State: |  | Zip:
General Specifications
1. Each specification must be bid separately. Lump sum bids are NOT ACCEPTED.
2. All products and materials shall be new and arrive in unopened packaging.
3. Contractor shall move construction debris from the property to a dumpster or legal landfill at least per week, and leave the property in "broom clean" condition. In occupied properties, construction debris shall be removed from living quarters daily.
4. Installation of all products and materials shall be according to the manufacturer's instructions.
5. "Install" means to purchase, deliver, set up, test and warrant a new component.
6. "Replace" means to remove and dispose of material, purchase new material, deliver, install, test and warrant.
7. "Repair" means to return a building component to like-new condition through replacement of parts, adjustment and recoating of parts.
8. "Reinstall" means to remove, clean, store and install a component.
9. Items required by local code, construction standard or other requirement must be completed for final payment.
10. Contractor shall remedy any defect due to faulty material or workmanship and pay for all resulting damage to other work which appears within one year from an accepted final inspection. Contractor shall furnish owner with all manufacturers' and suppliers' written warranties covering items furnished under this contract prior to release of the final payment.
11. New materials shall be matched with existing materials to be consistent with surrounding surfaces.
12. All Change Orders must be approved by TDHCA PRIOR to performing changed work. Any additional costs due to product or material upgrades is solely at the contractor’s expense unless pre-authorized by the Administrator and TDHCA.
13. Payment requests shall be based on satisfactory completion of contracted work.
14. Contractor is responsible for verifying accurate field dimensions, sizes, quantities, square feet, linear feet, etc. before ordering materials, products, or supplies. Quantities, square feet, linear feet, etc. listed in the bid package are for the convenience of the contractor. TDHCA and the Administrator neither make nor imply any guarantee for the accuracy of these numbers.
15. All electrical work must meet the National Electrical Code adopted by the city or by the state for counties, and must be completed by a state-licensed electrician.
16. All plumbing work must meet the International Plumbing Code adopted by the city or by the state for counties, and be completed by a state-licensed plumber.
17. If digging is required, the contractor is responsible for locating utilities underground.
18. Contractor is responsible for complying with all applicable permitting requirements.
19. Contractor is responsible for ensuring that work does not encroach on property lines, setbacks, or easements.
20. Contractor is responsible for complying with EPA and/or HUD lead-based paint rules.
MISCELLANEOUS | Spec Description |  | Units | Cost Estimate | Total
Debris Removal |  |  |  |  | 0
Building Permits |  |  |  |  | 0
Site Toilet Rental |  |  |  |  | 0
BUILDING EXTERIOR & ATTIC | Spec Description |  | Units | Cost Estimate | Total
Foundation |  |  |  |  | 0
Grading & Drainage |  |  |  |  | 0
Roof Covering |  |  |  |  | 0
Roof Structure |  |  |  |  | 0
Exterior Walls |  |  |  |  | 0
Exterior Doors |  |  |  |  | 0
Chimney |  |  |  |  | 0
Exterior Lighting |  |  |  |  | 0
Decks/Porches/Ramps |  |  |  |  | 0
Attic insulation |  |  |  |  | 0
MAIN LIVING ROOM | Spec Description |  | Units | Cost Estimate | Total
Ceiling |  |  |  |  | 0
Walls |  |  |  |  | 0
Flooring |  |  |  |  | 0
Doors |  |  |  |  | 0
Windows |  |  |  |  | 0
Lighting |  |  |  |  | 0
Ceiling Fan |  |  |  |  | 0
HALLWAYS | Spec Description |  | Units | Cost Estimate | Total
Ceiling |  |  |  |  | 0
Walls |  |  |  |  | 0
Flooring |  |  |  |  | 0
Lighting |  |  |  |  | 0
MASTER BEDROOM | Spec Description |  | Units | Cost Estimate | Total
Ceiling |  |  |  |  | 0
Walls |  |  |  |  | 0
Flooring |  |  |  |  | 0
Doors |  |  |  |  | 0
Egress Window |  |  |  |  | 0
Closet |  |  |  |  | 0
Lighting |  |  |  |  | 0
Ceiling Fan |  |  |  |  | 0
BEDROOM 2 | Spec Description |  | Units | Cost Estimate | Total
Ceiling |  |  |  |  | 0
Walls |  |  |  |  | 0
Flooring |  |  |  |  | 0
Doors |  |  |  |  | 0
Egress Window |  |  |  |  | 0
Closet |  |  |  |  | 0
Lighting |  |  |  |  | 0
Ceiling Fan |  |  |  |  | 0
BEDROOM 3 | Spec Description |  | Units | Cost Estimate | Total
Ceiling |  |  |  |  | 0
Walls |  |  |  |  | 0
Flooring |  |  |  |  | 0
Doors |  |  |  |  | 0
Egress Window |  |  |  |  | 0
Closet |  |  |  |  | 0
Lighting |  |  |  |  | 0
Ceiling Fan |  |  |  |  | 0
MASTER BATHROOM | Spec Description |  | Units | Cost Estimate | Total
Ceiling |  |  |  |  | 0
Walls |  |  |  |  | 0
Flooring |  |  |  |  | 0
Doors |  |  |  |  | 0
Toilet |  |  |  |  | 0
Tub/Shower |  |  |  |  | 0
Vanity/Sink/Faucet |  |  |  |  | 0
Mirror/Medicine Cab. |  |  |  |  | 0
GFCI protection |  |  |  |  | 0
Exhaust Fan |  |  |  |  | 0
Linen Closet |  |  |  |  | 0
Grab Bars |  |  |  |  | 0
Accessory Hardware |  |  |  |  | 0
Lighting |  |  |  |  | 0
BATHROOM 2 | Spec Description |  | Units | Cost Estimate | Total
Ceiling |  |  |  |  | 0
Walls |  |  |  |  | 0
Flooring |  |  |  |  | 0
Doors |  |  |  |  | 0
Toilet |  |  |  |  | 0
Tub/Shower |  |  |  |  | 0
Vanity/Sink/Faucet |  |  |  |  | 0
Mirror/Medicine Cab. |  |  |  |  | 0
GFCI Protection |  |  |  |  | 0
Exhaust Fan |  |  |  |  | 0
Linen Closet |  |  |  |  | 0
Grab bars |  |  |  |  | 0
Accessory Hardware |  |  |  |  | 0
Lighting |  |  |  |  | 0
KITCHEN | Spec Description |  | Units | Cost Estimate | Total
Ceiling |  |  |  |  | 0
Walls |  |  |  |  | 0
Flooring |  |  |  |  | 0
Doors |  |  |  |  | 0
Windows |  |  |  |  | 0
Lower Cabinets |  |  |  |  | 0
Upper Cabinets |  |  |  |  | 0
GFCI Protection |  |  |  |  | 0
Refrigerator |  |  |  |  | 0
Range/Oven |  |  |  |  | 0
Dishwasher |  |  |  |  | 0
Exhaust Vent |  |  |  |  | 0
Lighting |  |  |  |  | 0
UTILITY ROOM | Spec Description |  | Units | Cost Estimate | Total
Ceiling |  |  |  |  | 0
Walls |  |  |  |  | 0
Flooring |  |  |  |  | 0
Doors |  |  |  |  | 0
Windows |  |  |  |  | 0
Washer |  |  |  |  | 0
Dryer/Dryer Vent |  |  |  |  | 0
Exhaust Vent |  |  |  |  | 0
Plumbing Connection |  |  |  |  | 0
ELECTRICAL SYSTEM | Spec Description |  | Units | Cost Estimate | Total
Complete Rewire |  |  |  |  | 0
Service Weatherhead |  |  |  |  | 0
Main Panel/Load Center |  |  |  |  | 0
AFCI/GFCI |  |  |  |  | 0
Branch Circuits |  |  |  |  | 0
Light switches |  |  |  |  | 0
Receptacles |  |  |  |  | 0
Smoke Alarms |  |  |  |  | 0
Carbon Monoxide Alarms |  |  |  |  | 0
PLUMBING SYSTEM | Spec Description |  | Units | Cost Estimate | Total
Water Service Lines |  |  |  |  | 0
Main Shutoff Valve |  |  |  |  | 0
Pipe Insulation |  |  |  |  | 0
Drains, Waste & Vents |  |  |  |  | 0
Hose Bibs/Anti-siphon |  |  |  |  | 0
Domestic Water Heater |  |  |  |  | 0
Septic System |  |  |  |  | 0
HVAC SYSTEM | Spec Description |  | Units | Cost Estimate | Total
Replace/Install New System |  |  |  |  | 0
Replace Air Handler |  |  |  |  | 0
Replace Condensing Coil |  |  |  |  | 0
Replace/Repair Ductwork |  |  |  |  | 0
Install Window Units |  |  |  |  | 0
Install Space Heaters |  |  |  |  | 0
Minisplits |  |  |  |  | 0
0
|  |  |  | GRAND TOTAL: | 0
Name of person who prepared this document
Signature of Preparer |  |  |  | Date
Signature of Administrator Representative |  |  |  | Date
Signature of Head of HH |  |  |  | Date